## Slide 1: ELLSWORTH AIR FORCE BASE BESS
(Battery Energy Storage System)
Part of NRECA's RURAL ENERGY STORAGE DEPLOYMENT PROGRAM (RESDP)

## Slide 2
20k+ Meters
60 Employees
4,500 Square Miles
7.35 Meters Per Mile

## Slide 3
BESS - If We Knew Then What I Know Now.
Todays Agenda
  Our WHY
  Picking Your Site
  Choosing Your Team/Contractor

## Slide 4: ELLSWORTH AIR FORCE BASE
Box Elder, SD
3611 Active Members
420 Civilians
B-1 Bomber (One Of Three Bases)
B-21 Raider (Mid – 2020s)

## Slide 5: THE BEGINNING
NRECA Annual Meeting 2020
DOE, NRECA, DoD
Labs
  PNNL (Pacific Northwest National Laboratory)
  Sandia National Laboratories
Part of NRECA's RURAL ENERGY STORAGE DEPLOYMENT PROGRAM (RESDP)​

## Slide 6: OUR WHY
Safety / Training
Resiliency
Positive & Supportive Relationship
Go To Trusted Energy Advisor
Load Shedding and Data Collection

## Slide 7: RFP
17 Venders
6 Proposals
  5 Met The Proposal Requirements
Major Overlooked Requirements
  NFPA 855
  UL Listed
Buy American Act
  51%
Size Of Our Project
  To Small For Some Of The Venders
Decommissioning And Recycling / Disposal
  $5 To $ 10 Per kWh

## Slide 8: SITE LOCATION FACTORS
Building Ideas
  Mission Critical
  Load
Resiliency
  Hours, Days, Weeks
Generator (Parallel Setup)
Occupied Structures

## Slide 9: Our Battery
Go Electric Troes Battery / Microgrid Controller
Lithium Ion Battery
75kW
277 kWh
10 Year Warranty
  80 % Degradation
FEND Data Diode
IntelliVent - explosion prevention system, developed by Pacific Northwest National Labs (PNNL)

## Slide 10: TAKE AWAYS
KNOW YOUR WHY
LARGE SCALE BEHIND THE METER IS NEW
BEWARE OF PLUG AND PLAY
DO YOUR HOMEWORK (NFPA & UL)
  WE'RE STILL WAITING FOR THE UL LISTING (Maybe Jan 2025)
A $400k Battery is now $750k

## Slide 11: Special Thanks:
NRECA Staff & Labs
West River Electric's CEO and Board
Adam Daigle
Energy Advisor
Sean Bestgen P.E.
Staff Engineer

## Slide 12: Questions?
Robert Raker
Manager of Public Relations
Robert.raker@westriver.coop
605-393-1500